## Product Master
Category | Product Name | Approx. Price (₹) | Usage | Sold By | Key Attributes | Model No.
Weighing Balance | WENSAR PGB 200 | 23100 | Precision weighing in labs | WENSAR | 200g, LCD, external cal | PGB-200
Bunsen Burner | Electric Bunsen Burner (with regulator) | 3600 | Flame heating in labs | SIGMA | Stainless steel, 800°C | BB-E01
Oven | High Temperature Oven | 38000 | High-temp heating | SIGMA | 450°C, 343L, thermostat | HTO-450
Oven | Vacuum Oven (300x300 mm) | 74000 | Vacuum drying | SIGMA | 200°C, 230V | VO-300
Autoclave | Vertical Autoclave | 42000 | Sterilization | SIGMA | 20L, SS body | VA-20SS
Autoclave | Double Wall Autoclave 100L | 110000 | Sterilization | SIGMA | 100L, 450x600 mm | DW-100
Mixer | Remi Cyclo Mixer CM 101 Plus | 10000 | Lab mixing | REMI | Orbital, 0-2500 rpm | CM101P
Colorimeter | Elico Mild Steel Colorimeter | 11800 | Color analysis | ELICO | LED display, ±0.01 Abs | CL-51
Spectrophotometer | UV-Visible Spectrophotometer | 125000 | Spectral analysis | ELICO | 190–1100 nm, 2nm band | SP-UV1100
Centrifuge | General Purpose Centrifuge R-8C | 30000 | Centrifugation | REMI | Max 5000 rpm | R8C
Centrifuge | Refrigerated Centrifuge C-24BL | 85000 | Cold centrifugation | REMI | Max 16000 rpm, -8°C | C24BL
Dryer | Tray Dryer Machine 12-Tray | 125000 | Drying samples | SIGMA | SS, 12 trays, 5 kW | TD-12
Bath | Sigma Ultrasonic Bath | 18900 | Cleaning using ultrasound | LABMAN | 3L, 40 kHz | UB-3L
Test Apparatus | Jar Test Apparatus | 29000 | Water/flocculation test | SIGMA | 4 jar, 25–200 rpm | JTA-4
Pump | Single Stage Vacuum Pump | 32500 | Vacuum generation | SIGMA | Oil-sealed, 0.05 mbar | SVP-01
Refrigerator | Sigma Laboratory Refrigerator | 300000 | Sample storage | SIGMA | 1355L, digital display | LR-1355
Melting Point | Digital Melting Point Apparatus | 15000 | Melting point determination | SIGMA | 300°C, 0.1°C resolution | MP-300